## Slide 1
B-detector image
D
A
B
C

## Slide 2
Results:
Use of ABT=17o (“Angle Between Detectors”), as specified in GNBF_2_calibrate_from_Xtlvecs, produced a more accurate retrieved basal-to-pyramidal angle (57.4o) than produced by ABT=15o (54.6o). There’s an upper limit, however: when I tried ABT=20o, the retrieval algorithm failed in segment 5.
On the other hand, smaller ABT values produce smaller retrieved angles, so I don’t want to go that direction.
The apparent cocave curvature of the center of the basal facet (see next slide) increases with ADA. Therefore, using the more accurate ADA=17o will produce a slightly more concave surface. We conclude that the concavity is “real” (i.e., not an artifact of a bad value of ADA).
Using ADA=17o
Using ADA=15o
0
5

## Slide 3
This is segments4, using ADA=25o
This is segments4, using ADA=15o
This is segments4, using ADA=5o