## Slide 1
B-detector image
D
A
B
C

## Slide 2
Observations:
Use of ABCD=17o (“Angle Between Detectors”), as specified in GNBF_2_calibrate_from_Xtlvecs, produced a more accurate retrieved basal-to-pyramidal angle (57.4o) than produced by ABCD=15o (54.6o). There’s an upper limit, however: when I tried ABCD =20o, the retrieval algorithm failed in segment 5.
On the other hand, smaller ABCD values produce smaller retrieved angles, so I don’t want to go that direction.
Consistent with this, apparent concave curvature of the center of the basal facet (see next slide) also increases with ADA. Therefore, the more accurate ABCD =17o will produce a slightly more concave surface. We conclude that the concavity we observed at ABCD =17o is “real” (i.e., not an artifact of a bad value of ABCD).
Using ABCD = 17o
Using ABCD = 15o
0
5

## Slide 3
This is segments4, using ADA=25o
This is segments4, using ADA=15o
This is segments4, using ADA=5o